## Slide 1: Results Cyrcè 19.06.24

## Slide 2: Changes in data treatment
All diodes are recorded – no excluded channels
  Compared to the last measurements the channel numbering is mirrored?!
File positions are given different (clearer) as _x_..._y_....csv
  new parsing of position was written
No variation in beam: Otsu‘s method for generating an on-signal and dark measurement is not available any longer
One ?! dark measurement: “d2_1n_3s_beam_all_without_diffuser_dark.csv“
  General usage of dark measurement added
Normalization factor: Compare following slides
Channel 60 with extremely high noise (but no proton signal) –> reduced or not used in following

## Slide 3: Dark measurement
Dark measurement
Applied on higher signal

## Slide 4: Normalization – what‘s measured?
Note that x is intentionally shifted for better visualization
Available: 1 measurement at beginning and one at the ~ end of the measurement day – unstable beam for the first measurements on the 19.06.24
500p_center = begin of measurement day
5s_flat_calib = end of measurement day

## Slide 5: Signals of these measurements
For better visualization: Every diode corresponds with a real y-position in these measurements – calculated out of y-position and diode number considering diode size and spacing

## Slide 6: Signal vs. real y-position
Result:
The flattened beam behind the diffuser is not flat at all (shape comparable over the day)
The diodes show a differing response to the same signal -> Use this for normalizing

## Slide 7: How to realize new normalization
Calculate the real position for each diode at each y-position
Mean the signal at each real position
  To do this: Group positions in a certain range
For each diode: Calculate how the measured beam curve differs from the mean
I allow the following DOF : mean = signal diode * a
  Realisation with different methods possible, currently I use a least_squares optimisation
  More DOF are possible, then we‘re not only dependent from the channel, but also from the y-position (Assuming the linearity is - as measured before - nearly , there shouldn‘t be a big impact though)
Thus a factor is calculated for each channel

## Slide 8: Some technical aspects
The factor is limited (to avoid artefacts in channels with no response during flat calibration): For the results shown to 0 and 3
The factor can be normalized, so that mean(factor) = 1 (Also done for results shown)
This calculation process is more complex (~ 5s), thus i built a quick storage as “normalization_factor.npy“ in the given data folder via np.save/np.load (< 0.001 s)
  I always safe a raw factor without the 2 modifiactions above, to allow later modifications of these after loading
This process is rather complex, but I could not think of a more direct way ... So maybe you have some ideas/questions

## Slide 9: The real positions
Here a visualisation how the real y-positions are calculated and grouped (I use the distance of 1xdiode size to group)
The signal increase is a bit smeared out (compare next slide), so there could be some offset in the diode array? (how accurate is the fabrication process) or some inaccuracy in moving the array (e.g. if the array is mounted slightly tilted)
Future Improvement for this: Detect the signal increase/decrease and rather use this for sorting

## Slide 10: The new normalization factor
In black the calculated mean, As visible I‘m able to get the diode signals far more homogenous

## Slide 11: Normalization with normalized factor
With mean(factor) = 1 we of course get an offset from the mean here

## Slide 12: Factor comparison
Comparison of the factors for 2 methods(lsq = least_squares, method 1 = mean of deviation at each position compared to mean)
Also the factor from the first Cyrcè measurements is shown in green
The methods give nearly the same result
The behaviour between the two measurements at the 19.06. is differing, but especially for the diodes with #30+ not too much different

## Slide 13: One addition that might be important?!
Correct for the beam shape in y-direction (but this assumes that it remains comparable over the day)
Possible if assigning the measured real position here to the y-positions in the maps measured

## Slide 14: The maps
I will show the maps with / without normalization in the following with a short picture context to each measurement
Measurements are shown in realistic pixels and interpolated contourf version (as before)
If multiple y position were measured, I‘ll show 2 maps
  Combining two will be one of the next steps

## Slide 15: IPHC Matrix CRHEA logo

## Slide 16: IPHC Matrix CRHEA logo
Normalized
Not normalized

## Slide 17: IPHC Matrix CRHEA logo 2 (“neonoff“)
Normalized

## Slide 18: IPHC Matrix CRHEA logo

## Slide 19: IPHC Matrix CRHEA logo 2 (“neonoff“)

## Slide 20: Mixed symbols mask

## Slide 21: Mixed symbols mask
Here the normalization seems to be an improvement

## Slide 22: Mixed symbols mask
Here the Bragg-peak effect is well visible I‘d say

## Slide 23: Biseau 2D-big black trapeze

## Slide 24: Biseau 2D-big black trapeze

## Slide 25: Biseau 2D-big black trapeze

## Slide 26: white trapeze – biseau blanc
picture only with rat tails

## Slide 27: white trapeze – biseau blanc

## Slide 28: white trapeze – biseau blanc
picture only with rat tails

## Slide 29
From now just normalized maps, left/right for height or picture comparison

## Slide 30: Rat tails on the white trapeze – biseau blanc

## Slide 31: Rat tails on the white trapeze – biseau blanc

## Slide 32: Rat tails on the white trapeze – biseau blanc

## Slide 33: Rat tails on the white trapeze – biseau blanc

## Slide 34: Rat tails on flat surface

## Slide 35: Rat tails on flat surface

## Slide 36: Rat tails on flat surface

## Slide 37: Beam without diffuser

## Slide 38: Beam without diffuser

## Slide 39: “Full scan“ 500pA with diffuser (and unstable beam?...)

## Slide 40: Some remarks
I think there might be a differing beam shape behind the diffuser in the x-direction as in the y-direction
  From the maps and beam_shape image I‘d say less intensity on the left side of images
From what I see on the pictures the objects seem to be resolved as expected

## Slide 41: Some ideas for future measurements (if there are anymore with a 1D array)
More measurements at slightly shifted y-positions (e.g. to get a better result for the IPHC MATRIC CRHEA Logo)
Maybe an improved logo (clearer cutout in e.g. “I X“, shift towards Bragg peak for more signal?)
Curved shapes still strange resolved: Examine the impact of diode movement
  Map something 2D so that a map out of one diode can be generated
  Is this showing the same effect now also in the y direction?
  (Also possible with rotated diode array)

## Slide 42: What‘s coming in the next days
Black trapeze to estimate Bragg peak (if i get the measures)
Change in software from script function approach probably into a class based approach for better handling (and easier modifications)
Software for 2D array measurments (maybe with interactive features so that its usable when we do the next measurements)