## Slide 1: Data Processing and first Proton Beam Imaging
Nico Brosda – Strasbourg Measurements Analysis 06.06.2024

## Slide 2: Reminder Setup at Cyrcé
Proton beam with a frequency of 85 MHz or half 42 MHz
Beam Modulated On/Off with 1 s pulse duration
Option to use a diffuser in proton beam line (makes beam more homogenous)
Diodes read out by AMS Test Kit
1D line array of 64 diodes
Stage allows 2D imaging

## Slide 3: Measurements

## Slide 4: What is measured?

## Slide 5: What is measured?

## Slide 6: Processing the data

## Slide 7: Otsu‘s method

## Slide 8: Technical Aspects of data processing
Saved by AMS Software in .csv file (what is easy accessible)
Data structure is…
DAC_in[LSB],Sample,Ch1,Ch2,Ch3,Ch4,Ch5,Ch6,Ch7,Ch8,Ch9,Ch10,Ch11,Ch12,Ch13,Ch14,Ch15,Ch16,Ch17,Ch18,Ch19,Ch20,Ch21,Ch22,Ch23,Ch24,Ch25,Ch26,Ch27,Ch28,Ch29,Ch30,Ch31,Ch32,Ch33,Ch34,Ch35,Ch36,Ch37,Ch38,Ch39,Ch40,Ch41,Ch42,Ch43,Ch44,Ch45,Ch46,Ch47,Ch48,Ch49,Ch50,Ch51,Ch52,Ch53,Ch54,Ch55,Ch56,Ch57,Ch58,Ch59,Ch60,Ch61,Ch62,Ch63,Ch64,Ch65,Ch66,Ch67,Ch68,Ch69,Ch70,Ch71,Ch72,Ch73,Ch74,Ch75,Ch76,Ch77,Ch78,Ch79,Ch80,Ch81,Ch82,Ch83,Ch84,Ch85,Ch86,Ch87,Ch88,Ch89,Ch90,Ch91,Ch92,Ch93,Ch94,Ch95,Ch96,Ch97,Ch98,Ch99,Ch100,Ch101,Ch102,Ch103,Ch104,Ch105,Ch106,Ch107,Ch108,Ch109,Ch110,Ch111,Ch112,Ch113,Ch114,Ch115,Ch116,Ch117,Ch118,Ch119,Ch120,Ch121,Ch122,Ch123,Ch124,Ch125,Ch126,Ch127,Ch128,
1,4,0,0,0,0,0,0,0,0,0,2325,0,35742,28717,39030,37822,42136,39915,43418,42699,47169,45255,66897,57324,70130,63822,57703,76374,48780,46527,79388,73672,55543,66030,5238
1,4,0,0,0,0,0,0,0,0,0,2325,0,35742,28717,39030,37822,42136,39915,43418,42699,47169,45255,66897,57324,70130,63822,57703,76374,48780,46527,79388,73672,55543,66030,52386,51775,50183,51593,49895,0,43902,49838,50820,49832,49907,49765,50803,48533,48989,46736,48412,44285,46514,43639,45490,42963,42094,54298,44958,0,18581,0,0,06,51775,50183,51593,49895,0,43902,49838,50820,49832,49907,49765,50803,48533,48989,46736,48412,44285,46514,43639,45490,42963,42094,54298,44958,0,18581,0,0,0

## Slide 9: Array response of proton beam

## Slide 10: Shifting the diode array in the beam

## Slide 11: A simple normalization

## Slide 12: Current Conversion

## Slide 13: Is the diodes‘ response linear?

## Slide 14: Noise

## Slide 15: Imaging
1
2
63
64
y = 0
…
x
y
x
y
0,5 mm x 0,5 mm
80
Diode on the left of the stage:
x = 0

## Slide 16: Imaging
1
2
63
64
…
x
y
1
2
63
64
…
0,5 mm x 0,5 mm
80
x step

## Slide 17: Imaging
1
2
63
64
…
x
y
1
2
63
64
…
0,5 mm x 0,5 mm
80
x step = 250

## Slide 18: First: Empty round collimator

## Slide 19: Imaging – Real Image

## Slide 20: Imaging – Real Image vs interpolated

## Slide 21: Imaging – Normalization

## Slide 22: Now: Image Objects (Screws)

## Slide 23: Image Screw

## Slide 24: Another screw

## Slide 25: Another screw

## Slide 26: Horizontal screw (but unstable)

## Slide 27: Horizontal screw (but unstable)

## Slide 28: A smaller screw

## Slide 29: A smaller screw

## Slide 30: Imaging - Sampling
1
2
63
64
…
x
y
1
2
63
64
…
0,5 mm x 0,5 mm
80
x step = 250

## Slide 31: Imaging - Sampling
1
2
63
64
…
x
y
1
2
63
64
…
x step = 250
So far I‘ve just shown images without this oversampling!

## Slide 32: Imaging - SuperResolution
Step 1
x
y
Step 2
Step 3
Step 4
Step 6
Step 5
…
…
Step 107
Step 109
Step 111
Step 108
Step 110
55 Pixels each
110 Superresolved Pixels

## Slide 33
1
2
3
N-1
N
1
2
3
4
5
6
2N
2N-1
2N-3
2N-2
1
2
3
N-1
N
1
2
3
N-1
N

## Slide 34
We set a boundary condition on one side; f=0 at the last effective pixel (f(N+1)=0)

## Slide 35
You get one profile with boundary condition at last pixel f(2N+1)=0. Profile fright
You get one profile with boundary condition at first pixel f(1)=0: Profile fleft.
On can combine both profiles to get the best profile:
This formula makes sure to get 0 on both ends

## Slide 36: Super Resolution vs Normal Resolution

## Slide 37: Super Resolution vs Oversampled Image

## Slide 38: Image of the beam (now without diffuser)

## Slide 39: Image of the beam between 2 days (and samples)

## Slide 40: What‘s about to come
More measurements in proton beam
Optical setup for diode excitation
    Easier studying of AMS circuit parameters
Further process of data analysis (with relation to image processing)
2D array