## Slide 1: On line meeting
November 19, 2024
1-General information
2-Communication, publications, conferences
3-Last results obtained at CAL at low proton currents (Jean-Yves)
4-Last detector arrays: design, processing (Matilde)
5-Results on imaging based on 1D and 2D arrays at IPHC Strasbourg (Nico).
6-Results obtained at WPE on individual diodes (Luisa)
7- Next actions, including active 2D arrays, Analog Devices (all)

## Slide 2: Consortium agreement
Laurianne in charge
Feedback received from RUB
Other partners: please do it as soon as possible

## Slide 3: Data management plan
Due by end of 2024
Action: JYD
Will include the repository developed by Nico

## Slide 4: Publications
Paper to be submitted soon by Matilde on the individual detector choice (APL)
Paper to be submitted by jean-Yves on the response at low positive bias (see next) (Nature)
Paper to be submitted in 2025 by Maxime
Likely a few papers to come in 2025 on imaging (see results by Nico)

## Slide 5: Conferences and prizes
GaN marathon (Verona)
  Best poster prize (Matilde)
Conference (CSW, Sweden): Matilde
2 presentations in IWN 2024
  -general presentation of GaN for
  proton-therapy by Maxime
  -response at low positive bias, by JYD
  Pierre Laffite PhD Prize, Sophia Antipolis (Matilde)

## Slide 6: New photoresponse mode
Jean-Yves Duboz

## Slide 7
Small positive bias below the turn on bias
e
h
V>0
h
e
0 < V < Vturn on  1 V for GaN Schottky diode
Photovoltaic current
Photoconductive current

## Slide 8: Sensitivity: minimum detectable proton current
Can detect 0.7 pA/cm2 at 0V = in the photovoltaic mode 
Schottky diode 1µm

## Slide 9: Sensitivity: minimum detectable proton current
Diode with the largest proton beam / dark current ratio
Schottky diode : L=4 µm
Choose this bias

## Slide 10: Sensitivity: minimum detectable proton current
Can detect 0.5 fA/cm2 in the new mode  
× 1000 more sensistive than photovoltaic
OFF
OFF
ON

## Slide 11: Perspectives
0.5fA/cm2 =20 protons /s/diode
Try and reach the photon/s range ??
The current limit is the noise of the set up, including the Keithley.
We will insert a low noise high gain current amplifier, and redo the measurement at CAL at very low proton current